Immunofluorescence Protocol for

Frozen Tissue

Molecular Pathology & Imaging Core

Center for Molecular Studies of Digestive and Liver Diseases

Department of Medicine / Gastroenterology Division

University of Pennsylvania

I)  Tissue Fixation

- Embed tissue in OCT

- Section Tissue

- Allow Slides to Warm to Room Temperature			10 min at RT

- 10% Neutral Buffered Formalin				4 min

- Rinse in gently-running water					5 min

II)  Pretreatment of sections:

- Place slides out in hybridization box.  Wash 1X PBS 		5 min

Use hydrophobic pen to restrict subsequent volumes of

reagents applied to the sections

- Block with Protein Blocking Agent 				10 min

- Tap excess blocker off slide and proceed

with Ab immunohistochemistry

III)  Immunohistochemistry

- Primary Ab: Dilute in PBT					Overnight at 4°C

Dilution per manufacture’s instructions

Incubation times will vary

- Wash in PBS 						2 X 5 min.

- Secondary Fluorescent Ab (Keep in dark)			30 min at 37°C

Dilute in PBT

General dilution ranges are between 1/200 and 1/400.

- Wash in PBS 						2 X 5 min

- Wash in diH2O						5 min

- Optional:

DAPI (1/10,000 in diH2O)					1-10 min

or

Propidium Iodide (1/15,000 in diH2O)  			15 sec

- Wash in diH2O						2 x 5 min

- Apply mounting media and add cover slip

PBT per 50ml

H2O				43.5ml

10X PBS			5.0ml	[1X]

10% BSA			0.5ml	[0.1%]

10% Triton X-100		1.0ml	[0.2%]