## Sheet1
Mounting media | RI | Hardening? | Reportedly compatible with | Reportedly incompatible with | Other
Clarion | 1.47 | Yes | Immunohistology, DAB |  | Environmentally friendly
Crystal Mount | 1.35 | Yes | Immunohistology, DAB | Eosin, H&E, Cyanide dyes | No need to deparaffinize, needs incubation at 60C to harden
Eukitt | 1.51 | Yes | IHC and IFC |  | Stable long-term, no antifade properties reported
EverBrite | 1.46 | Yes | Cyanide Dyes, FITC
Fluoromount-G | 1.4 |  | IHC and IFC
Fluoroshield | 1.36 | No | FITC, AlexaFluor, cyanine dyes, phycobiliproteins
Vectashield Hard Mount | 1.44 | Yes
FluorSave | 1.36 | Yes | Phycobiliproteins, fluorescein, rhodamine |  | Glycerol-free, shrinkage problems after 1 week
Gel Mount | 1.36 | No | Cyanine dyes and phycobiliproteins | BCIP, Fast Red | Glycerol-free
Glycerol | 1.48 | No |  | Phycobiliproteins | 50-90%, higher concentrations for fluorescence, DIY recipes add antifade
MOWIOL | 1.49 | Yes |  |  | Must be mixed fresh before use, variable RI
PBS | 1.33 | No | Live samples, fluorescent proteins |  | No antifade properties
Prolong Diamond | 1.47 | Yes | AlexaFluor, Cyanide Dyes
Prolong Glass | 1.52 | Yes | AlexaFluor, Cyanide Dyes, FITC, Fluorescent proteins |  | Quality Z resolution
Prolong Gold | 1.46 | Yes | AlexaFluor | Fluorescent proteins, BODIPY dyes
Slowfade Diamond | 1.42 | No | AlexaFluor, Fluorescent proteins, FITC |  | Best photobleaching prevention of 3 slowfade options
Slowfade Glass | 1.52 | No | AlexaFluor, Fluorescent proteins, FITC |  | For tissues up to 500um
Slowfade Gold | 1.42 | No | AlexaFluor | Fluorescent proteins, FITC | Signal degrades after 2-3 weeks
Vectashield | 1.45 | No |  | Fluorescent proteins, Cyanine dyes, Far red/AF647 | UV autofluorescence especially at -20C, store at 4C
Clearing agents
BABB | 1.55 | No |  | Fluorescent proteins | Toxic and bad for microscopes, causes shrinkage, bad for long term storage
Visikol HISTO | 1.48-1.53 | No |  |  | Non-toxic commercial BABB alternative
iDISCO | 1.56 | No | Most fluorophores | Fluorescent proteins quenched | Affordable DIY recipe
Ethyl cinnamate | 1.56 | No |  |  | Non-toxic BABB alternative
Antifade compounds
Paraphenylenediamine (PPD)
N-propyl gallate
DABCO
Sources
https://www.cambridge.org/core/services/aop-cambridge-core/content/view/F248BCB6F54CCD1F5BF5C923476DD682/S1551929500055176a.pdf/mounting-media-and-antifade-reagents.pdf
https://bidc.ucsf.edu/sites/g/files/tkssra806/f/wysiwyg/Mountants_WCIF.pdf
Commercial listings
https://www.thermofisher.com/us/en/home/life-science/cell-analysis/cellular-imaging/fluorescence-microscopy-and-immunofluorescence-if/mounting-medium-antifades/slowfade-gold-antifade.html
https://biomeda.com/crystal-mount-30-ml.M02.html
https://visikol.com/tissue-clearing-with-3disco-idisco/